{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["260059DBB Items","1ref"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"260059DBB Items","index":0,"n_rows":257,"n_cols":10,"rows_kept":257,"flags":["formulas_cached_only"]}
["Item ID","Group ID/Name","Group Type","Code","Description","UOM","Quantity","Price (max. 2 decimal places) *","Comment","Total Cost"]
["9387394887","Schedule B/Cost Allowance","Cost Allowance",104.04,"Partnering",null,null,7500,"N/A",7500]
["9563045853","Schedule B/Cost Allowance","Cost Allowance",107.01501,"Community Relations Support",null,null,25000,"N/A",25000]
["9387394889","Schedule B/Cost Allowance","Cost Allowance",107.02,"Stormwater Compliance",null,null,20000,"N/A",20000]
["9387394890","Schedule B/Cost Allowance","Cost Allowance",107.0211,"Environmental Mitigation Compliance",null,null,20000,"N/A",20000]
["9387394891","Schedule B/Cost Allowance","Cost Allowance",107.0212,"Compliance with Migratory Bird Treaty Act",null,null,5000,"N/A",5000]
["9387394892","Schedule B/Cost Allowance","Cost Allowance",107.0221,"404 Permit Compliance",null,null,15000,"N/A",15000]
["9387394893","Schedule B/Cost Allowance","Cost Allowance",108.03,"Bid Document Escrow",null,null,7500,"N/A",7500]
["9387394898","Schedule A/Road Work","Standard",109.09,"Mobilization/Demobilization","Lump-Sum",1,null,null,0]
["9387394899","Schedule A/Road Work","Standard",201.1,"Clearing and Grubbing","Lump-Sum",1,null,null,0]
["9387394900","Schedule A/Road Work","Standard",205.0115,"Roadway Excavation","Cubic Yard",17518,null,null,0]
["9387415251","Schedule A/Road Work","Standard",215.011,"Channel Excavation","Cubic Yard",3180,null,null,0]
["9387415252","Schedule A/Road Work","Standard",215.0151,"Earthwork for Retention Basins","Cubic Yard",60943,null,null,0]
["9563045868","Schedule A/Road Work","Standard",220.1015,"Riprap, D50=6 in","Cubic Yard",643,null,null,0]
["9563045869","Schedule A/Road Work","Standard",220.10225,"Riprap, D50=9 in","Cubic Yard",85,null,null,0]
["9387415255","Schedule A/Road Work","Standard",220.103,"Riprap, D50=12 in","Cubic Yard",20,null,null,0]
["9387415256","Schedule A/Road Work","Standard",220.203,"Grouted Riprap, D50=12 in","Cubic Yard",18,null,null,0]
["9387415258","Schedule A/Road Work","Standard",240.10014,"Erosion Control, 9 in Sediment Wattle","Linear Foot/Feet",2155,null,null,0]
["9387415259","Schedule A/Road Work","Standard",240.1002,"Erosion Control, 20 in Sediment Wattle","Linear Foot/Feet",5095,null,null,0]
["9387415260","Schedule A/Road Work","Standard",240.1003,"Erosion Control, Inlet Protection","Linear Foot/Feet",425,null,null,0]
["9387415261","Schedule A/Road Work","Standard",240.10035,"Erosion Control, Construction Entrance/Exit Gravel Pad","Square Yard",1000,null,null,0]
["9387415262","Schedule A/Road Work","Standard",240.1004,"Erosion Control, Rock Mulch, Gradation C (1 in-3 in)","Cubic Yard",39,null,null,0]
["9563045877","Schedule A/Road Work","Standard",301.01,"Subgrade Preparation","Square Yard",25260,null,null,0]
["9387415264","Schedule A/Road Work","Standard",301.13012,"Maintenance Road, FCD Det FCD201-2","Square Foot/Feet",247,null,null,0]
["9563045879","Schedule A/Road Work","Standard",310.03001,"Aggregate Base Course","Cubic Yard",8535,null,null,0]
["9563045880","Schedule A/Road Work","Standard",321.01202,"Asphalt Concrete Pavement (Superpave 1/2 in Mix, High Traffic)","Ton",2822,null,null,0]
["9563045881","Schedule A/Road Work","Standard",321.01302,"Asphalt Concrete Pavement (Superpave 3/4 in Mix, High Traffic)","Ton",3867,null,null,0]
["9387394894","Schedule B/Cost Allowance","Cost Allowance",321.02,"Rideability",null,null,50000,"N/A",50000]
["9387415268","Schedule A/Road Work","Standard",324.0108,"Portland Cement Concrete Pavement (PCCP) 8 in Thick","Square Yard",625,null,null,0]
["9387415269","Schedule A/Road Work","Standard",329.01,"Bituminous Tack Coat SS-1h or CSS-1h, Diluted","Ton",9,null,null,0]
["9387415270","Schedule A/Road Work","Standard",336.01601,"Pavement Replacement, MAG Det 200, T Top","Square Foot/Feet",84,null,null,0]
["9387394895","Schedule B/Cost Allowance","Cost Allowance",338.01,"Price Adjustment for Bituminous Materials",null,null,50000,"N/A",50000]
["9563045885","Schedule A/Road Work","Standard",340.0111,"Vertical Curb & Gutter, Type A, H=6 in, MAG Det 220","Linear Foot/Feet",2890,null,null,0]
["9387415272","Schedule A/Road Work","Standard",340.0116,"Single Curb, Type B, MAG Det 222","Linear Foot/Feet",43,null,null,0]
["9563045887","Schedule A/Road Work","Standard",340.0121,"Concrete Sidewalk, MAG Det 230","Square Foot/Feet",22860,null,null,0]
["9387415274","Schedule A/Road Work","Standard",340.01314,"30 ft R Directional Curb Ramp Attached SW Dual Ramp MAG Det 237-1","Each",1,null,null,0]
["9387415275","Schedule A/Road Work","Standard",340.01405,"Driveway Entrance, MAG Det 250-1, Commercial/Industrial","Square Foot/Feet",1155,null,null,0]
["9387415276","Schedule A/Road Work","Standard",340.01459,"Driveway 9 in Thick Class A Concrete","Square Foot/Feet",154,null,null,0]
["9387415277","Schedule A/Road Work","Standard",340.01479,"Driveway, City of Peoria Std Det PE-251-2","Square Foot/Feet",3009,null,null,0]
["9387415278","Schedule A/Road Work","Standard",345.011,"Adjust Exist Manhole Frame & Cover, MAG Det 422, Type A","Each",12,null,null,0]
["9387415279","Schedule A/Road Work","Standard",345.012,"Adjust Valve Box & Cover, MAG Det 391-1-A","Each",14,null,null,0]
["9387415280","Schedule A/Road Work","Standard",350.011,"Remove Pipe, Backfill & Compact, D<30 in","Linear Foot/Feet",106,null,null,0]
["9387415281","Schedule A/Road Work","Standard",350.015,"Remove Headwall","Each",5,null,null,0]
["9387415282","Schedule A/Road Work","Standard",350.018,"Remove Concrete Curb & Gutter","Linear Foot/Feet",2141,null,null,0]
["9387415283","Schedule A/Road Work","Standard",350.01803,"Remove Scupper","Each",5,null,null,0]
["9563045898","Schedule A/Road Work","Standard",350.019,"Remove Sidewalk","Square Foot/Feet",13930,null,null,0]
["9387415285","Schedule A/Road Work","Standard",350.01901,"Remove Sidewalk Ramps","Each",2,null,null,0]
["9387415286","Schedule A/Road Work","Standard",350.01905,"Remove Post","Each",9,null,null,0]
["9387415287","Schedule A/Road Work","Standard",350.01997,"Remove Junction Structure","Each",1,null,null,0]
["9387415288","Schedule A/Road Work","Standard",350.02,"Remove Gate","Each",6,null,null,0]
["9387415289","Schedule A/Road Work","Standard",350.02101,"Remove Concrete Driveway","Square Foot/Feet",223,null,null,0]
["9387415290","Schedule A/Road Work","Standard",350.02155,"Remove Asbestos Cement Pipe","Linear Foot/Feet",92,null,null,0]
["9563087655","Schedule A/Road Work","Standard",350.02251,"Remove Concrete Spillway","Square Foot/Feet",172,null,null,0]
["9387415292","Schedule A/Road Work","Standard",350.03,"Remove and Salvage Street Light","Each",7,null,null,0]
["9387415293","Schedule A/Road Work","Standard",350.04,"Remove and Salvage Traffic Sign Assembly","Each",5,null,null,0]
["9387415294","Schedule A/Road Work","Standard",350.04002,"Remove Pull Box","Each",1,null,null,0]
["9387415295","Schedule A/Road Work","Standard",350.05,"Remove Guardrail","Linear Foot/Feet",108,null,null,0]
["9387415296","Schedule A/Road Work","Standard",350.07501,"Removal of Pavement","Square Yard",19840,null,null,0]
["9387415297","Schedule A/Road Work","Standard",350.30005,"Remove Barbed Wire Fence","Linear Foot/Feet",1722,null,null,0]
["9563087662","Schedule A/Road Work","Standard",350.31,"Remove Chain Link Fence","Linear Foot/Feet",1394,null,null,0]
["9387415299","Schedule A/Road Work","Standard",350.32,"Remove Block Wall","Linear Foot/Feet",433,null,null,0]
["9387415300","Schedule A/Road Work","Standard",350.50003,"Remove Traffic Pole Foundation","Each",1,null,null,0]
["9387415351","Schedule A/Road Work","Standard",350.70015,"Remove and Salvage Traffic Signal Pole and Mast Arm","Each",1,null,null,0]
["9387415352","Schedule A/Road Work","Standard",350.70028,"Remove and Salvage Traffic Signal Cabinet","Each",1,null,null,0]
["9387415353","Schedule A/Road Work","Standard",350.70045,"Remove and Salvage Luminaire Mast Arm","Each",1,null,null,0]
["9387415354","Schedule A/Road Work","Standard",350.7008,"Remove and Salvage Video Detection System","Each",4,null,null,0]
["9387415355","Schedule A/Road Work","Standard",351.01661,"Relocate Water Meter, City of Glendale Det G-642","Each",1,null,null,0]
["9387415357","Schedule A/Road Work","Standard",401.01,"Traffic Control","Lump-Sum",1,null,null,0]
["9387394896","Schedule B/Cost Allowance","Cost Allowance",401.011,"Uniformed Off-Duty Law Enforcement Officer",null,null,135000,"N/A",135000]
["9387415358","Schedule A/Road Work","Standard",401.0401,"Portable Concrete Barrier, PCB","Linear Foot/Feet",4026,null,null,0]
["9387415359","Schedule A/Road Work","Standard",401.04015,"Portable Concrete Barrier, (LF Barrier/Day of Use)","Linear Foot/Feet",1400000,null,null,0]
["9387415360","Schedule A/Road Work","Standard",401.0402,"Portable Concrete Barrier Relocation","Linear Foot/Feet",6134,null,null,0]
["9387415361","Schedule A/Road Work","Standard",401.0403,"Impact Attenuation Device","Each",2,null,null,0]
["9387415362","Schedule A/Road Work","Standard",401.04035,"Impact Attenuation Device, (Each Device/Day of Use)","Each",60,null,null,0]
["9387415363","Schedule A/Road Work","Standard",401.0404,"Impact Attenuation Device Relocation","Each",4,null,null,0]
["9387415364","Schedule A/Road Work","Standard",401.0405,"Truck Mounted Attenuator","Day",444,null,null,0]
["9387415365","Schedule A/Road Work","Standard",401.061,"Changeable Message Board for Public Notification (Each Board/Day of Use)","Day",528,null,null,0]
["9387415366","Schedule A/Road Work","Standard",405.011,"Survey Marker, Type A, MAG Det 120","Each",1,null,null,0]
["9387415367","Schedule A/Road Work","Standard",417.04,"Furnish and Install Barrier Attenuator","Each",1,null,null,0]
["9387415368","Schedule A/Road Work","Standard",420.00126,"6 ft Chain Link Fence, Type 1, ADOT C-12.20","Linear Foot/Feet",1080,null,null,0]
["9387415369","Schedule A/Road Work","Standard",420.02624,"6 ft x 24 ft Chain Link Fence Gate, MAG Det 160","Each",1,null,null,0]
["9387415370","Schedule A/Road Work","Standard",421.141,"Barbed Wire Fence, Type 1, ADOT C-12.10","Linear Foot/Feet",1373,null,null,0]
["9387415371","Schedule A/Road Work","Standard",430.01018,"Plant - 24 in Box","Each",18,null,null,0]
["9387415372","Schedule A/Road Work","Standard",430.01025,"Shrubs - 5 gal","Each",23,null,null,0]
["9387415373","Schedule A/Road Work","Standard",430.01028,"Accent - 5 gal","Each",89,null,null,0]
["9563087688","Schedule A/Road Work","Standard",430.42,"Decomposed Granite, 2 in Thick, MAG Det 607-1","Square Yard",24986,null,null,0]
["9563087689","Schedule A/Road Work","Standard",430.425,"Decomposed Granite, 2 in Thick, Match Existing","Square Yard",2039,null,null,0]
["9387415376","Schedule A/Road Work","Standard",440.01103,"3 in Sch 40 PVC Irrigation Pipe Sleeve","Linear Foot/Feet",14,null,null,0]
["9563087691","Schedule A/Road Work","Standard",440.01106,"6 in Sch 40 PVC Irrigation Pipe Sleeve","Linear Foot/Feet",311,null,null,0]
["9387415378","Schedule A/Road Work","Standard",440.40075,"1 in Drip Remote Control Valve Assembly (Peoria)","Each",2,null,null,0]
["9563087694","Schedule A/Road Work","Standard",440.401,"Multi Port Pressure Compensating Emitter (Peoria & Glendale)","Each",62,null,null,0]
["9387415381","Schedule A/Road Work","Standard",440.40122,"1-1/2 in Reduced Pressure Backflow Assembly & Enclosure (COG G-669 & G-673)","Each",1,null,null,0]
["9387415382","Schedule A/Road Work","Standard",440.41007,"Sch. 40 PVC Irrigation Pipe 3/4 in","Linear Foot/Feet",1478,null,null,0]
["9563087697","Schedule A/Road Work","Standard",440.41015,"Sch. 40 PVC Irrigation Pipe 1-1/2 in","Linear Foot/Feet",1575,null,null,0]
["9387415384","Schedule A/Road Work","Standard",440.4105,"Battery Operated Irrigation Controller","Each",1,null,null,0]
["9563087699","Schedule A/Road Work","Standard",461.011,"4 in White Traffic Paint Stripe","Linear Foot/Feet",19926,null,null,0]
["9563087700","Schedule A/Road Work","Standard",461.012,"4 in Yellow Traffic Paint Stripe","Linear Foot/Feet",13298,null,null,0]
["9387415387","Schedule A/Road Work","Standard",462.011,"4 in White Thermoplastic Traffic Stripe","Linear Foot/Feet",2532,null,null,0]
["9387415388","Schedule A/Road Work","Standard",462.01509,"Thermoplastic/Preformed Symbol Lane Reduction Arrow","Each",2,null,null,0]
["9387415389","Schedule A/Road Work","Standard",462.01511,"Thermoplastic/Preformed Symbol Left Turn Arrow","Each",6,null,null,0]
["9387415390","Schedule A/Road Work","Standard",462.01512,"Thermoplastic/Preformed Symbol Right Turn Arrow","Each",3,null,null,0]
["9563087705","Schedule A/Road Work","Standard",463.011,"Reflectorized Raised Pavement Marker (Type D, Yellow, 2-Way)","Each",58,null,null,0]
["9387415392","Schedule A/Road Work","Standard",463.012,"Reflectorized Raised Pavement Marker (Type G, Clear, 1-Way)","Each",134,null,null,0]
["9387415393","Schedule A/Road Work","Standard",464.02,"Perforated Sign Post","Linear Foot/Feet",170,null,null,0]
["9387415394","Schedule A/Road Work","Standard",464.02001,"Perforated Sign Post Foundation, Det 2058","Each",15,null,null,0]
["9563087709","Schedule A/Road Work","Standard",465.01002,"Flat Sheet Aluminum Sign Panel, High Intensity Grade","Square Foot/Feet",74,null,null,0]
["9387415396","Schedule A/Road Work","Standard",471.60045,"No. 5 Pull Box","Each",18,null,null,0]
["9387415397","Schedule A/Road Work","Standard",471.60057,"No. 7 Pull Box with Extension","Each",1,null,null,0]
["9387415398","Schedule A/Road Work","Standard",471.61012,"Sch. 40 PVC Electrical Conduit 1 in w/ 1/4 in Nyl PR #8 Bare Copper Wire Trench","Linear Foot/Feet",130,null,null,0]
["9387415399","Schedule A/Road Work","Standard",471.61112,"Sch. 40 PVC Elec. Cond. 2 in w/ 1/4 in Nyl PR #8 Bare Copper Wire Trench","Linear Foot/Feet",175,null,null,0]
["9387415400","Schedule A/Road Work","Standard",471.6113,"Sch. 40 Galvanized Electrical Conduit 2 in","Linear Foot/Feet",80,null,null,0]
["9387415451","Schedule A/Road Work","Standard",471.61212,"Sch. 40 PVC Elec. Cond. 2 1/2 in with 1/4 in Nyl PR #8 Bare Copper Wire Trench","Linear Foot/Feet",3265,null,null,0]
["9387415452","Schedule A/Road Work","Standard",471.61312,"Sch. 40 PVC Elec. Cond. 3 in with 1/4 in Nyl PR #8 Bare Copper Wire Trench","Linear Foot/Feet",35,null,null,0]
["9387415453","Schedule A/Road Work","Standard",471.61313,"Sch. 40 PVC Elec. Cond. 3 in w/ 1/4 in Nyl PR #8 Bare Copper Wire HDD","Linear Foot/Feet",420,null,null,0]
["9387415454","Schedule A/Road Work","Standard",472.61102,"Pole Foundation, Type PE05D, Peoria Det PE-080-10","Each",1,null,null,0]
["9387415455","Schedule A/Road Work","Standard",472.61103,"Pole Foundation, Type PEO14D, Peoria Det PE-080-10","Each",1,null,null,0]
["9387415456","Schedule A/Road Work","Standard",472.61202,"Pole Foundation, City of Glendale Det F-1","Each",9,null,null,0]
["9387415457","Schedule A/Road Work","Standard",472.61208,"Pole Foundation, Type G (ADOT Std Dwg T-SL 4.07, or COP PE-150)","Each",9,null,null,0]
["9387415458","Schedule A/Road Work","Standard",472.63101,"P Cabinet Foundation, Peoria Det PE-083-2","Each",1,null,null,0]
["9387415459","Schedule A/Road Work","Standard",472.63102,"Traffic Control Cabinet Courtesy Pad (Det PE-082) (City of Peoria)","Each",1,null,null,0]
["9387415460","Schedule A/Road Work","Standard",473.802,"Video Image Detection System, 2 Approaches","Each",1,null,null,0]
["9387415461","Schedule A/Road Work","Standard",474.6012,"Signal Pole, Type PEO5D 10 ft, Peoria Det PE-080-09","Each",1,null,null,0]
["9387415462","Schedule A/Road Work","Standard",474.6035,"Signal Pole, Type G, ADOT Std Dwg T-SL 4.07","Each",9,null,null,0]
["9387415463","Schedule A/Road Work","Standard",474.60354,"Streetlight Pole, City of Glendale Std Dwg P1","Each",9,null,null,0]
["9387415464","Schedule A/Road Work","Standard",474.6049,"Signal Pole, Type PEO14D, Peoria Det PE-080-2","Each",1,null,null,0]
["9387415465","Schedule A/Road Work","Standard",474.704,"40 ft Mast Arm","Each",2,null,null,0]
["9387415466","Schedule A/Road Work","Standard",475.61403,"Electrical Service Pedestal System (Lighting)","Each",2,null,null,0]
["9387415467","Schedule A/Road Work","Standard",475.62012,"Controller Cabinet Assembly. Peoria Det PE-083-2","Each",1,null,null,0]
["9387415468","Schedule A/Road Work","Standard",475.83,"Fire Pre-emption Equipment","Each",1,null,null,0]
["9387415469","Schedule A/Road Work","Standard",476.12121,"Signal Indication Type F Signal Face Type II Plumbizer Mount Asm Det 4778 Instal","Each",1,null,null,0]
["9387415470","Schedule A/Road Work","Standard",476.12129,"Signal Indication Type F Signal Face Type Sky Mount","Each",2,null,null,0]
["9387415471","Schedule A/Road Work","Standard",476.1217,"Signal Indication Type F Signal Face Type VII Mount Asm Det 4795","Each",2,null,null,0]
["9387415472","Schedule A/Road Work","Standard",476.1221,"Signal Indication Type G Signal Face Type XI Side Mount Asm Det 4775","Each",1,null,null,0]
["9387415473","Schedule A/Road Work","Standard",476.1222,"Signal Indication Type G Signal Face Type II Plumbizer Mount Asm Det 4778","Each",1,null,null,0]
["9387415474","Schedule A/Road Work","Standard",476.12221,"Signal Ind Type G Signal Face Type II Plumbizer Mount Asm Det 4778 Install Only","Each",1,null,null,0]
["9387415475","Schedule A/Road Work","Standard",476.1251,"Signal Indication Type F Mod Signal Face Type XI Side Mount Asm Det 4775","Each",1,null,null,0]
["9387415477","Schedule A/Road Work","Standard",476.62015,"Pedestrian Signal Indication Type V Mount Asm Det 4794","Each",2,null,null,0]
["9387415478","Schedule A/Road Work","Standard",476.62019,"ADOT Type II Barrier Mounted Junction Box (ADOT Std Det SD 1.30)","Each",5,null,null,0]
["9387415479","Schedule A/Road Work","Standard",477.612,"Luminaire, Mast Arm 20 ft","Each",1,null,null,0]
["9387415480","Schedule A/Road Work","Standard",477.61213,"Luminaire Mast Arm, 18 ft, (ADOT Std Dwg T-SL 4.29)","Each",9,null,null,0]
["9387415481","Schedule A/Road Work","Standard",477.61214,"Luminaire Mast Arm, 12 Ft by 8 Ft, City of Glendale Det A6","Each",9,null,null,0]
["9387415482","Schedule A/Road Work","Standard",477.70044,"LED Luminaire, Horizontal Mount (GE Evolve ERL2-0-19-C3-30-A-Gray w/PEC)","Each",9,null,null,0]
["9387415483","Schedule A/Road Work","Standard",477.70046,"LED Luminaire, Horizontal Mount (Atbhn ATBM- P10-MVOLT-R2-3K-MP-NL-P7-RFD309346","Each",9,null,null,0]
["9387415484","Schedule A/Road Work","Standard",477.84011,"LED Luminaire, Underdeck (W4GLED-20C1000-30K-T3M-MVOLT-SPD-P7-BZSPD)","Each",4,null,null,0]
["9387415485","Schedule A/Road Work","Standard",477.9,"Internally Illuminated Street Name Sign","Each",1,null,null,0]
["9387415486","Schedule A/Road Work","Standard",478.0101,"Electrical Conductors (Streetlighting)","Lump-Sum",1,null,null,0]
["9387415487","Schedule A/Road Work","Standard",478.01019,"Electrical Conductors (TS-Northern/103rd Ave)","Lump-Sum",1,null,null,0]
["9387415488","Schedule A/Road Work","Standard",478.01029,"Electrical Conductors (New River Trail Underdeck Lighting)","Lump-Sum",1,null,null,0]
["9387415489","Schedule A/Road Work","Standard",481.00058,"ITS Pull Box (COP Detail PE-071)","Each",6,null,null,0]
["9387415490","Schedule A/Road Work","Standard",481.012,"ITS Type B Pull Box Det 4805-2","Each",5,null,null,0]
["9387415491","Schedule A/Road Work","Standard",481.015,"ITS Type E Pull Box Det 4806","Each",1,null,null,0]
["9387415492","Schedule A/Road Work","Standard",481.01502,"ITS Type E (Split) Pull Box","Each",2,null,null,0]
["9387415493","Schedule A/Road Work","Standard",481.7,"3-3 in PVC Fiber Optic Conduits with #8 Copper Wire (Modified Det 4801)","Linear Foot/Feet",2050,null,null,0]
["9387415494","Schedule A/Road Work","Standard",481.70001,"4-1 1/4 in PVC Fiber Optic Cond. w/ #12 Copper Wire (Trench), Peoria Det PE-070","Linear Foot/Feet",2600,null,null,0]
["9387415495","Schedule A/Road Work","Standard",482.00012,"Fiber Optic Cable, Single Mode 12","Linear Foot/Feet",50,null,null,0]
["9387415496","Schedule A/Road Work","Standard",482.00144,"Fiber Optic Cable, Single Mode 144","Linear Foot/Feet",4050,null,null,0]
["9387415497","Schedule A/Road Work","Standard",483.00015,"CCTV with Quadcam","Each",1,null,null,0]
["9387415498","Schedule A/Road Work","Standard",505.06508,"Concrete Scupper, MAG Det 206, S/W=6 ft, 2-4 ft Curb Opening","Each",3,null,null,0]
["9387415499","Schedule A/Road Work","Standard",505.06512,"Concrete Scupper Spillway, MAG Det 206, 2-4 ft Curb Opening","Linear Foot/Feet",239,null,null,0]
["9387415500","Schedule A/Road Work","Standard",505.06513,"Concrete Scupper Spillway, MAG Det 206, 3-4 ft Curb Opening","Linear Foot/Feet",36,null,null,0]
["9387415551","Schedule A/Road Work","Standard",505.06514,"Concrete Scupper, MAG Det 206, S/W=8 ft, 2-4 ft Curb Opening","Each",4,null,null,0]
["9563087766","Schedule A/Road Work","Standard",505.06516,"Concrete Scupper Spillway, MAG Det 206, 5-4 ft Curb Opening","Linear Foot/Feet",44,null,null,0]
["9387415553","Schedule A/Road Work","Standard",505.06517,"Concrete Scupper, MAG Det 206, S/W=8 ft, 3-4 ft Curb Opening","Each",2,null,null,0]
["9387415554","Schedule A/Road Work","Standard",505.06518,"Concrete Scupper, MAG Det 206, S/W=8 ft, 5-4 ft Curb Opening","Each",1,null,null,0]
["9387415555","Schedule A/Road Work","Standard",505.12311,"Double Catch Basin, ADOT C-15.81, Modified","Each",1,null,null,0]
["9387415556","Schedule A/Road Work","Standard",505.12312,"Triple Catch Basin, ADOT C-15.81, Modified","Each",1,null,null,0]
["9387415557","Schedule A/Road Work","Standard",505.15117,"Catch Basin, MAG Det 542-1, Type M-1, L=17 ft","Each",6,null,null,0]
["9563087772","Schedule A/Road Work","Standard",505.33,"Sediment Trap, MAG Det OROW-511","Each",10,null,null,0]
["9387415559","Schedule A/Road Work","Standard",510.14836,"Concrete Junction Box, 1-48 in (in) 2-36 in (out), Special Det D2","Each",1,null,null,0]
["9387415560","Schedule A/Road Work","Standard",515.20006,"Bollard, Type 1, 6 in Diameter, MAG Det 140","Each",1,null,null,0]
["9563087775","Schedule A/Road Work","Standard",520.01035,"Safety Rail, Height 3 ft - 6 in, MAG Det 145","Linear Foot/Feet",851,null,null,0]
["9387415562","Schedule A/Road Work","Standard",523.10119,"Headwall, Det 5524, Straight Type, 18 in Pipe, Modified","Each",1,null,null,0]
["9387415563","Schedule A/Road Work","Standard",523.10231,"Headwall, Det 5524, Straight Type, 2-30 in Pipe, Modified","Each",2,null,null,0]
["9387415564","Schedule A/Road Work","Standard",523.12119,"Headwall, Det 5524, U Type, 18 in Pipe, Modified","Each",5,null,null,0]
["9387415565","Schedule A/Road Work","Standard",523.12125,"Headwall, Det 5524, U Type, 24 in Pipe, Modified","Each",2,null,null,0]
["9387415566","Schedule A/Road Work","Standard",523.12137,"Headwall, Det 5524, U Type, 36 in Pipe, Modified","Each",1,null,null,0]
["9387415567","Schedule A/Road Work","Standard",523.15119,"Headwall, Drop Inlet, MAG Det 501-5, 18 in Pipe, Modified","Each",1,null,null,0]
["9387415568","Schedule A/Road Work","Standard",523.15125,"Headwall, Drop Inlet, MAG Det 501-5, 24 in Pipe, Modified","Each",1,null,null,0]
["9387415569","Schedule A/Road Work","Standard",523.15149,"Headwall, Drop Inlet, MAG Det 501-5, 48 in Pipe, Modified","Each",1,null,null,0]
["9387415571","Schedule A/Road Work","Standard",523.2012,"Outlet Barrier Gate for 24 in Pipe, ADOT Std. Det C-13.75","Each",1,null,null,0]
["9387415572","Schedule A/Road Work","Standard",523.20122,"Outlet Barrier Gate for 36 in Pipe, ADOT Std. Det C-13.75","Each",2,null,null,0]
["9387415575","Schedule A/Road Work","Standard",523.32,"Headwall, Outlet, Special Detail","Each",2,null,null,0]
["9387415576","Schedule A/Road Work","Standard",610.02012,"12 in Ductile Iron Pipe Waterline with Fittings","Linear Foot/Feet",338,null,null,0]
["9387415577","Schedule A/Road Work","Standard",610.02112,"12 in Ductile Iron Pipe Waterline with Fittings (On Structure)","Linear Foot/Feet",395,null,null,0]
["9387415578","Schedule A/Road Work","Standard",610.06113,"Install 12 in ACP to DIP Coupling, Glendale Approved Products","Each",2,null,null,0]
["9387415579","Schedule A/Road Work","Standard",610.27601,"Remove Existing Fire Hydrant and Replace, Peoria Det PE-360","Each",1,null,null,0]
["9387415580","Schedule A/Road Work","Standard",610.27602,"Remove Existing Fire Hydrant and Relocate, Glendale Det G-660","Each",1,null,null,0]
["9387415581","Schedule A/Road Work","Standard",615.30001,"12 in Cap on Existing Waterline, per MAG Section 350.2.1","Each",2,null,null,0]
["9387415582","Schedule A/Road Work","Standard",618.00818,"Pipe Plug, MAG Det 427, 18 in Pipe","Each",6,null,null,0]
["9387415583","Schedule A/Road Work","Standard",618.00836,"Pipe Plug, MAG Det 427, 36 in Pipe","Each",1,null,null,0]
["9387415585","Schedule A/Road Work","Standard",618.20418,"18 in RGRCP, Class IV","Linear Foot/Feet",672,null,null,0]
["9387415586","Schedule A/Road Work","Standard",618.20424,"24 in RGRCP, Class IV","Linear Foot/Feet",472,null,null,0]
["9387415587","Schedule A/Road Work","Standard",618.2043,"30 in RGRCP, Class IV","Linear Foot/Feet",70,null,null,0]
["9387415588","Schedule A/Road Work","Standard",618.20436,"36 in RGRCP, Class IV","Linear Foot/Feet",1524,null,null,0]
["9387415589","Schedule A/Road Work","Standard",618.20448,"48 in RGRCP, Class IV","Linear Foot/Feet",24,null,null,0]
["9563087804","Schedule A/Road Work","Standard",625.011,"Storm Drain Manhole, MAG Det 520 & 522","Each",9,null,null,0]
["9387415591","Schedule A/Road Work","Standard",625.01107,"Storm Drain Outlet, ADOT Det C-13.76","Each",1,null,null,0]
["9387415592","Schedule A/Road Work","Standard",625.1023,"Drywell, MaxWell Plus or Equal, Basic Depth 30 ft","Each",3,null,null,0]
["9387415593","Schedule A/Road Work","Standard",630.01112,"12 in Gate Valve with Box & Cover","Each",2,null,null,0]
["9387415594","Schedule A/Road Work","Standard",630.06,"Install New Air Release Valve, City of Glendale Detail G-646","Each",1,null,null,0]
["9387415595","Schedule A/Road Work","Standard",631.50005,"Provide Water Service (1-1/2 in)","Each",1,null,null,0]
["9387415596","Schedule A/Road Work","Standard",924.017,"Contractor Quality Control","Lump-Sum",1,null,null,0]
["9387415597","Schedule A/Road Work","Standard",925.0001,"Construction Surveying and Layout (Heavy)","Lump-Sum",1,null,null,0]
["9387415598","Schedule A/Road Work","Standard",925.00011,"Construction Surveying and Layout (Highway)","Lump-Sum",1,null,null,0]
["9387415599","Schedule A/Road Work","Standard","206.01000A","Structural Excavation","Cubic Yard",230,null,null,0]
["9387415600","Schedule A/Road Work","Standard","206.02000A","Structural Backfill","Cubic Yard",135,null,null,0]
["9387415651","Schedule A/Road Work","Standard","502.01065A","Drilled Shaft Foundation, 6.5 ft Diameter","Linear Foot/Feet",496,null,null,0]
["9387415652","Schedule A/Road Work","Standard","502.01080A","Drilled Shaft Foundation, 8 ft Diameter","Linear Foot/Feet",564,null,null,0]
["9387415653","Schedule A/Road Work","Standard","505.01535A","Structural Concrete ADOT Class S, fc=3500 PSI","Cubic Yard",780,null,null,0]
["9387415654","Schedule A/Road Work","Standard","505.01545A","Structural Concrete ADOT Class S, fc=4500 PSI","Cubic Yard",972,null,null,0]
["9387415655","Schedule A/Road Work","Standard","505.02100A","Reinforcing Steel","Pound",422515,null,null,0]
["9387415656","Schedule A/Road Work","Standard","505.03000A","Restrainer, Vertical Expansion","Each",16,null,null,0]
["9387415657","Schedule A/Road Work","Standard","505.03100A","Restrainer, Fixed","Each",36,null,null,0]
["9387415658","Schedule A/Road Work","Standard","505.04110A","Bridge Deck Joint Assembly Strip Seal","Linear Foot/Feet",140,null,null,0]
["9387415659","Schedule A/Road Work","Standard","505.06000A","Reinforced Concrete Approach Slab","Square Foot/Feet",2052,null,null,0]
["9387415660","Schedule A/Road Work","Standard","506.01620A","Precast/Prestressed Concrete Beam (Bulb Tee 50 in)","Linear Foot/Feet",2703,null,null,0]
["9387415661","Schedule A/Road Work","Standard","506.06000A","Elastomeric Bearing Pads","Each",56,null,null,0]
["9387415662","Schedule A/Road Work","Standard","517.01000A","Utility Hanger Support System","Lump-Sum",1,null,null,0]
["9387415663","Schedule A/Road Work","Standard","517.01001A","12 in Water Pipe Hanger Support System","Lump-Sum",1,null,null,0]
["9387415664","Schedule A/Road Work","Standard","517.01020A","20 in Sewer Casing Hanger Support System","Lump-Sum",1,null,null,0]
["9387415665","Schedule A/Road Work","Standard","517.02001A","Vehicular Barrier","Linear Foot/Feet",424,null,null,0]
["9387415666","Schedule A/Road Work","Standard","521.01010A","Ped Curb without Fence","Linear Foot/Feet",424,null,null,0]
["9387415667","Schedule A/Road Work","Standard","530.00100A","Bridge - Painting","Square Foot/Feet",2796,null,null,0]
["9387415668","Schedule A/Road Work","Standard","530.00540A","Bridge - Metal Panels at Columns","Square Foot/Feet",45,null,null,0]
["9387415669","Schedule A/Road Work","Standard","530.00550A","Bridge - Pedestrian Barrier Steel Fencing","Linear Foot/Feet",428,null,null,0]
["9387415670","Schedule A/Road Work","Standard","530.00560A","Bridge - Vehicular Barrier Steel Fencing","Linear Foot/Feet",392,null,null,0]
["9387415671","Schedule A/Road Work","Standard","530.00570A","Bridge - Sandblasting","Square Foot/Feet",210,null,null,0]
["9387415672","Schedule A/Road Work","Standard","206.09000B","Support of Excavation (SOE), Earthwork, Backfill","Lump-Sum",1,null,null,0]
["9387394897","Schedule B/Cost Allowance","Cost Allowance","213.01100B","Dewatering",null,null,50000,"N/A",50000]
["9387415673","Schedule A/Road Work","Standard","215.09000B","Disposal, Non-Hazardous","Cubic Yard",479,null,null,0]
["9387415674","Schedule A/Road Work","Standard","602.20020B","Steel Casing Pipe Sleeve, ASTM A-283 Grade C, 20 in Dia. x 0.375 in Thick","Linear Foot/Feet",440,null,null,0]
["9387415675","Schedule A/Road Work","Standard","602.20099B","Epoxy-Coated Steel Spacers for Casing Pipe","Each",74,null,null,0]
["9387415676","Schedule A/Road Work","Standard","603.30012B","12 in HDPE","Linear Foot/Feet",857,null,null,0]
["9387415677","Schedule A/Road Work","Standard","603.30099B","12 in HDPE Fittings","Linear Foot/Feet",1,null,null,0]
["9387415678","Schedule A/Road Work","Standard","625.01921B","Valve Vault for Combination Air Release/Vacuum Valve","Each",1,null,null,0]
["9387415679","Schedule A/Road Work","Standard","625.09000B","Connection to Existing Manhole","Each",1,null,null,0]
["9387415680","Schedule A/Road Work","Standard","625.09020B","Internal Drop Connection for Existing Manhole","Each",1,null,null,0]
["9387415681","Schedule A/Road Work","Standard","630.05502B","Combination Air Release/Vacuum Valve","Each",1,null,null,0]
["9387415682","Schedule A/Road Work","Standard","301.01000C","Subgrade Preparation","Square Yard",601,null,null,0]
["9387415683","Schedule A/Road Work","Standard","310.03001C","Aggregate Base Course","Cubic Yard",317,null,null,0]
["9387415684","Schedule A/Road Work","Standard","321.01302C","Asphalt Concrete Pavement (Superpave 3/4 in Mix, High Traffic)","Ton",83,null,null,0]
["9387415685","Schedule A/Road Work","Standard","340.01110C","Vertical Curb & Gutter, Type A, H=6 in, MAG Det 220","Linear Foot/Feet",5,null,null,0]
["9387415686","Schedule A/Road Work","Standard","523.12118C","Headwall, Det 5524, U Type, 18 in Pipe","Each",3,null,null,0]
["9387415687","Schedule A/Road Work","Standard","618.20418C","18 in RGRCP, Class IV","Linear Foot/Feet",335,null,null,0]
["9563087853","Schedule B/Cost Allowance","Cost Allowance",107.0204,"FCDMC ROW Permit (Addendum 2)",null,null,5000,"N/A",5000]
["9563087854","Schedule A/Road Work","Standard",225.0006,"Furnish Water (Paid as MGALLONS)  Addendum2","Gallon",4000000,null,null,0]
["9563087855","Schedule A/Road Work","Standard",350.0185,"Remove Concrete Single Curb   Addendum 2","Linear Foot/Feet",50,null,null,0]
["9563087856","Schedule A/Road Work","Standard",351.0171,"Relocate Water Meter, City of Peoria Det PE-363   Addendum 2","Each",1,null,null,0]
["9563087857","Schedule A/Road Work","Standard",440.4002,"1 in Reduced Pressure Backflow Assembly & Enclosure (City of Peoria)   Addendum 2","Each",1,null,null,0]
["9563087858","Schedule A/Road Work","Standard",440.40022,"Automatic Controller  Addendum 2","Each",1,null,null,0]
["9563087859","Schedule A/Road Work","Standard",440.40026,"Flow Sensor    Addendum 2","Each",1,null,null,0]
["9563087860","Schedule A/Road Work","Standard",440.40033,"Master Valve Assembly    Addendum 2","Each",1,null,null,0]
["9563087861","Schedule A/Road Work","Standard",440.40055,"1-1/2 in Ball Valve Assembly, City of Peoria   Addendum 2","Each",1,null,null,0]
["9563087862","Schedule A/Road Work","Standard",610.04012,"12 in HDPE Temporary Waterline By-Pass  Addendum 2","Linear Foot/Feet",600,null,null,0]
["9563087863","Schedule A/Road Work","Standard",610.10112,"Concrete Encasement with Reinforcement, 12 in Pipe, MAG Det 404    Addendum 2","Linear Foot/Feet",69,null,null,0]
[]
["* = Mandatory"]

{"sheet":"1ref","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}